## Sheet1
NO. | Product | Intended Purpose | Product Configuration | Contraindications
1 | Thoracoabdominal Endoscopic Surgical System | Controlled by physicians via a master-slave control system to manipulate minimally invasive surgical instruments for use in urologic, gynecologic, general surgical and thoracic endoscopic surgery. | The system consists of the Surgeon Console, Patient Cart, and Vision Cart and Accessories. | Generally, there are no absolute contraindications. Relative contraindications include patients with conditions that significantly increase surgical risk, such as severe bleeding disorders or coagulation diseases.
2 | Passive Surgical Instruments | Intended for use in medical institutions in conjunction with the Thoracoabdominal Endoscopic Surgical System, for grasping, suturing, retracting and cutting human tissue during thoracoabdominal endoscopic surgery. | Passive Surgical Instruments include the Large Needle Driver, Extra-Large Needle Driver, Heavy-Duty Grasper, Fenestrated Grasper, Straight Scissors, and Curved Scissors. | There are currently no known contraindications directly related to this product. If the attending physician determines that using this product would pose a threat to the patient’s health (for example, due to the patient’s medical condition or contraindications to surgical robotic intervention), then use of this product should be avoided.
3 | High -Frequency Surgical Instruments | Intended for use in medical institutions in conjunction with the Thoracoabdominal Endoscopic Surgical System, for grasping, peeling, dissecting, cutting and coagulating human tissue during thoracoabdominal endoscopic surgery. | High-Frequency Surgical Instruments include the Monopolar Scissors, Monopolar Spatula, Monopolar Hook, Bipolar Maryland Grasper, Bipolar Fenestrated Grasper, and their accessories. | There are currently no known contraindications directly related to this product. If the attending physician determines that using this product would pose a threat to the patient’s health (for example, due to the patient’s medical condition or contraindications to surgical robotic intervention), then use of this product should be avoided.
4 | 3D Fluorescence Electronic Thoracoabdominal Endoscope | Intended for use in conjunction with the 3D Fluorescence Endoscopic Image Processor for observing and imaging during thoracoabdominal surgery via incisions into the human body. | The product consists of a Distal End, Insertion Portion, Operating Portion, and Cable. | There are currently no known contraindications directly related to this product. If the attending physician determines that using this product would pose a threat to the patient’s health (for example, due to the patient’s medical condition or contraindications to endoscopic intervention), then use of this product should be avoided.
5 | Disposable Ultrasonic Knife | Intended for cutting, grasping, back-cutting soft tissue and hemostasis of blood vessels up to 5 mm in diameter during surgery. | The Ultrasonic Knife consists of the following components: Instrument Housing, Shaft, Blade, Clamp Arm, Inner Shaft, and Torque Wrench. | This instrument is not intended for use in tubal ligation procedures for the purpose of contraception.
6 | Trocar | Intended for puncturing human tissue during thoracoabdominal endoscopic examination and surgery, to establish access channels for thoracoabdominal endoscopic surgery. | The Trocar consists of the following components: Obturator, Cannula, and Seal Cap. | There are currently no known contraindications directly related to this product. If the attending physician determines that using this product would pose a threat to the patient’s health (for example, due to the patient’s medical condition or contraindications to surgical robotic intervention), then use of this product should be avoided.
7 | Tip Cover Accessory | Intended for use with monopolar surgical instruments to prevent non-target tissue from unintended energy damage during surgery. | Tip Cover 、Installation Tool | There are currently no known contraindications directly related to this product. If the attending physician determines that using this product would pose a threat to the patient’s health (for example, due to the patient’s medical condition or contraindications to surgical robotic intervention), then use of this product should be avoided.
8 | Disposable Sterile Drape | Intended for covering the robot arms and column of Thoracoabdominal Endoscopic Surgical System, to avoid infection caused by surgeons contacting these parts and the patient’s incision during surgery. | The Disposable Sterile Drape consists of a Sleeve Cover, Instrument Sterile Adapter (optional), Cannula Sterile Adapter (optional), Flex-strips, and a Metal Disc. | None.
9 | 3D Fluorescence Endoscopic Image Processor | Intended for use in endoscopic diagnosis and therapeutic surgery, in conjunction with an endoscope, to process and transmit visible light images and near-infrared light images captured by the endoscope to a monitor for imaging. | The product comprises a generator and accompanying cables. The accompanying cables consist of a power cable, SDI cable, DVI cable, HDMI cable, and DisplayPort cable. | This product is intended for use in conjunction with surgical procedures and provides image display only. The device itself has no absolute contraindications.
10 | Light Source Device | Intended for use in endoscopic diagnosis and therapeutic surgery, to provide illumination for the field of view when observing body cavities. | The Light Source Device consists of a light source generator and cables. The illumination lamps are LED lamps and LD laser lamps; it does not include a light guide cable. | The Light Source Device is a product intended for use in conjunction with surgical procedures and provides illumination only. It is a non‑therapeutic medical device. The device itself has no absolute contraindications.